## 电解电容
[MeasureCondition]
Display | Main parameter | Label | Cs
Display | Main parameter | Type | Cs
Display | Main parameter | Deviation display | ABS
Display | Main parameter | Deviation standard value | 0
Display | Main parameter | Label | D
Display | Sub parameter | Type | D
Display | Sub parameter | Deviation display | ABS
Display | Sub parameter | Deviation standard value | 0
Measurement | Frequency | Frequency | 1000
Measurement | Signal level | Fixed voltage level | OFF
Measurement | Signal level | Measurement voltage level | 1
Measurement | Signal level | Fixed current level | 0.001
Measurement | Range | Auto conversion | ON
Measurement | Range | Measurement range | 100 Ohm
Measurement | Trigger | Trigger source | Internal
Measurement | Trigger | Trigger delay interval | 0.008
Measurement | Mesurement speed | Mesurement speed | MED
Measurement | DC bias | Enable | OFF
Measurement | DC bias | Setting | 0
Measurement | Averaging | Enable | OFF
Measurement | Averaging | Averaging count | 1
Remarks | Remarks | Remarks
[SweepSetting]
Type | Linear
Starting frequency | 100
Ending frequency | 4000000
Measurement points | 200
Remarks
[Sweep Result]
No. | Pass Time | Frequency | Result
1 | 0:00 | 100 | 0 | 2.2794e-06 | 0.18344
2 | 0:00 | 20200 | 0 | 1.5978e-06 | 0.73726
3 | 0:00 | 40300 | 0 | 1.5385e-06 | 1.3389
4 | 0:00 | 60400 | 0 | 1.5124e-06 | 1.9305
5 | 0:00 | 80500 | 0 | 1.4917e-06 | 2.5052
6 | 0:00 | 100600 | 0 | 1.4862e-06 | 3.0942
7 | 0:00 | 120700 | 0 | 1.4899e-06 | 3.7038
8 | 0:00 | 140800 | 0 | 1.5024e-06 | 4.3416
9 | 0:00 | 160900 | 0 | 1.5061e-06 | 4.958
10 | 0:00 | 181000 | 0 | 1.5231e-06 | 5.6243
11 | 0:00 | 201100 | 0 | 1.5648e-06 | 6.4083
12 | 0:00 | 221200 | 0 | 1.5899e-06 | 7.1522
13 | 0:00 | 241300 | 0 | 1.6191e-06 | 7.9314
14 | 0:00 | 261400 | 0 | 1.6741e-06 | 8.8767
15 | 0:00 | 281500 | 0 | 1.7348e-06 | 9.9114
16 | 0:00 | 301600 | 0 | 1.8231e-06 | 11.1458
17 | 0:00 | 321700 | 0 | 1.9129e-06 | 12.4783
18 | 0:00 | 341800 | 0 | 1.9859e-06 | 13.7658
19 | 0:00 | 361900 | 0 | 2.1376e-06 | 15.6868
20 | 0:00 | 382000 | 0 | 2.3131e-06 | 17.9369
21 | 0:00 | 402100 | 0 | 2.4476e-06 | 19.9661
22 | 0:00 | 422200 | 0 | 2.6472e-06 | 22.6579
23 | 0:00 | 442300 | 0 | 2.9731e-06 | 26.6526
24 | 0:00 | 462400 | 0 | 3.1953e-06 | 29.9414
25 | 0:00 | 482500 | 0 | 3.7338e-06 | 36.5558
26 | 0:00 | 502600 | 0 | 4.2246e-06 | 43.1036
27 | 0:00 | 522700 | 0 | 5.1203e-06 | 54.3938
28 | 0:00 | 542800 | 0 | 6.4688e-06 | 71.379
29 | 0:00 | 562900 | 0 | 9.6117e-06 | 110.011
30 | 0:00 | 583000 | 0 | 1.9312e-05 | 229.386
31 | 0:00 | 603100 | 0 | 0.00010514 | 1293.4
32 | 0:00 | 623200 | 0 | -2.5338e-05 | 322.041
33 | 0:00 | 643300 | 0 | -1.2394e-05 | 162.783
34 | 0:00 | 663400 | 0 | -7.323e-06 | 99.2421
35 | 0:00 | 683500 | 0 | -5.801e-06 | 81.0204
36 | 0:00 | 703600 | 0 | -4.4354e-06 | 63.7908
37 | 0:00 | 723700 | 0 | -3.7059e-06 | 54.9361
38 | 0:00 | 743800 | 0 | -3.1648e-06 | 48.163
39 | 0:00 | 763900 | 0 | -2.7455e-06 | 42.975
40 | 0:00 | 784000 | 0 | -2.366e-06 | 38.0464
41 | 0:00 | 804100 | 0 | -2.1334e-06 | 35.195
42 | 0:00 | 824200 | 0 | -1.8537e-06 | 31.3871
43 | 0:00 | 844300 | 0 | -1.6781e-06 | 29.0982
44 | 0:00 | 864400 | 0 | -1.5417e-06 | 27.3567
45 | 0:00 | 884500 | 0 | -1.3897e-06 | 25.2558
46 | 0:00 | 904600 | 0 | -1.266e-06 | 23.561
47 | 0:00 | 924700 | 0 | -1.1772e-06 | 22.4056
48 | 0:00 | 944800 | 0 | -1.0946e-06 | 21.2959
49 | 0:00 | 964900 | 0 | -1.0314e-06 | 20.5115
50 | 0:00 | 985000 | 0 | -9.5694e-07 | 19.4484
51 | 0:00 | 1005100 | 0 | -8.9365e-07 | 18.5518
52 | 0:00 | 1025200 | 0 | -8.3823e-07 | 17.7557
53 | 0:00 | 1045300 | 0 | -7.9005e-07 | 17.1009
54 | 0:00 | 1065400 | 0 | -7.5037e-07 | 16.5673
55 | 0:00 | 1085500 | 0 | -7.0911e-07 | 15.9688
56 | 0:00 | 1105600 | 0 | -6.6942e-07 | 15.3694
57 | 0:00 | 1125700 | 0 | -6.365e-07 | 14.8963
58 | 0:00 | 1145800 | 0 | -6.0401e-07 | 14.402
59 | 0:00 | 1165900 | 0 | -5.8209e-07 | 14.1272
60 | 0:00 | 1186000 | 0 | -5.6582e-07 | 13.9947
61 | 0:00 | 1206100 | 0 | -5.3742e-07 | 13.5411
62 | 0:00 | 1226200 | 0 | -5.1916e-07 | 13.3113
63 | 0:00 | 1246300 | 0 | -4.989e-07 | 13.0168
64 | 0:00 | 1266400 | 0 | -4.7609e-07 | 12.626
65 | 0:00 | 1286500 | 0 | -4.6348e-07 | 12.5053
66 | 0:00 | 1306600 | 0 | -4.4616e-07 | 12.2483
67 | 0:00 | 1326700 | 0 | -4.313e-07 | 12.0297
68 | 0:00 | 1346800 | 0 | -4.1726e-07 | 11.8292
69 | 0:00 | 1366900 | 0 | -4.0225e-07 | 11.5876
70 | 0:00 | 1387000 | 0 | -3.9223e-07 | 11.4833
71 | 0:00 | 1407100 | 0 | -3.7858e-07 | 11.2565
72 | 0:00 | 1427200 | 0 | -3.6996e-07 | 11.1673
73 | 0:00 | 1447300 | 0 | -3.62e-07 | 11.0991
74 | 0:00 | 1467400 | 0 | -3.5238e-07 | 10.9694
75 | 0:00 | 1487500 | 0 | -3.4222e-07 | 10.8103
76 | 0:00 | 1507600 | 0 | -3.3316e-07 | 10.6804
77 | 0:00 | 1527700 | 0 | -3.2675e-07 | 10.6306
78 | 0:00 | 1547800 | 0 | -3.1832e-07 | 10.5017
79 | 0:00 | 1567900 | 0 | -3.0831e-07 | 10.3141
80 | 0:00 | 1588000 | 0 | -3.0219e-07 | 10.2499
81 | 0:00 | 1608100 | 0 | -2.9371e-07 | 10.1036
82 | 0:00 | 1628200 | 0 | -2.887e-07 | 10.0641
83 | 0:00 | 1648300 | 0 | -2.8246e-07 | 9.9783
84 | 0:00 | 1668400 | 0 | -2.7764e-07 | 9.9398
85 | 0:00 | 1688500 | 0 | -2.7141e-07 | 9.8406
86 | 0:00 | 1708600 | 0 | -2.6547e-07 | 9.7519
87 | 0:00 | 1728700 | 0 | -2.6044e-07 | 9.6957
88 | 0:00 | 1748800 | 0 | -2.5618e-07 | 9.6528
89 | 0:00 | 1768900 | 0 | -2.5006e-07 | 9.5471
90 | 0:00 | 1789000 | 0 | -2.4702e-07 | 9.5446
91 | 0:00 | 1809100 | 0 | -2.4169e-07 | 9.455
92 | 0:00 | 1829200 | 0 | -2.3636e-07 | 9.3596
93 | 0:00 | 1849300 | 0 | -2.3325e-07 | 9.345
94 | 0:00 | 1869400 | 0 | -2.2816e-07 | 9.2587
95 | 0:00 | 1889500 | 0 | -2.2509e-07 | 9.2424
96 | 0:00 | 1909600 | 0 | -2.2049e-07 | 9.1582
97 | 0:00 | 1929700 | 0 | -2.1716e-07 | 9.1196
98 | 0:00 | 1949800 | 0 | -2.1289e-07 | 9.0413
99 | 0:00 | 1969900 | 0 | -2.0955e-07 | 9.0031
100 | 0:00 | 1990000 | 0 | -2.0593e-07 | 8.9429
101 | 0:00 | 2010100 | 0 | -2.0259e-07 | 8.8994
102 | 0:00 | 2030200 | 0 | -1.9951e-07 | 8.8607
103 | 0:00 | 2050300 | 0 | -1.9609e-07 | 8.8009
104 | 0:00 | 2070400 | 0 | -1.9302e-07 | 8.7612
105 | 0:00 | 2090500 | 0 | -1.9033e-07 | 8.732
106 | 0:00 | 2110600 | 0 | -1.8705e-07 | 8.6674
107 | 0:00 | 2130700 | 0 | -1.8484e-07 | 8.6585
108 | 0:00 | 2150800 | 0 | -1.8183e-07 | 8.6055
109 | 0:00 | 2170900 | 0 | -1.7889e-07 | 8.5563
110 | 0:00 | 2191000 | 0 | -1.7651e-07 | 8.5295
111 | 0:00 | 2211100 | 0 | -1.7442e-07 | 8.5186
112 | 0:00 | 2231200 | 0 | -1.7186e-07 | 8.4807
113 | 0:00 | 2251300 | 0 | -1.6964e-07 | 8.4465
114 | 0:00 | 2271400 | 0 | -1.6784e-07 | 8.4342
115 | 0:00 | 2291500 | 0 | -1.658e-07 | 8.4103
116 | 0:00 | 2311600 | 0 | -1.6347e-07 | 8.3706
117 | 0:00 | 2331700 | 0 | -1.6141e-07 | 8.3472
118 | 0:00 | 2351800 | 0 | -1.5924e-07 | 8.3111
119 | 0:00 | 2371900 | 0 | -1.575e-07 | 8.2996
120 | 0:00 | 2392000 | 0 | -1.5564e-07 | 8.2772
121 | 0:00 | 2412100 | 0 | -1.5382e-07 | 8.2581
122 | 0:00 | 2432200 | 0 | -1.5202e-07 | 8.2336
123 | 0:00 | 2452300 | 0 | -1.4981e-07 | 8.188
124 | 0:00 | 2472400 | 0 | -1.4802e-07 | 8.1652
125 | 0:00 | 2492500 | 0 | -1.4604e-07 | 8.1245
126 | 0:00 | 2512600 | 0 | -1.4456e-07 | 8.1127
127 | 0:00 | 2532700 | 0 | -1.4266e-07 | 8.0753
128 | 0:00 | 2552800 | 0 | -1.4147e-07 | 8.0808
129 | 0:00 | 2572900 | 0 | -1.403e-07 | 8.0754
130 | 0:00 | 2593000 | 0 | -1.3844e-07 | 8.0385
131 | 0:00 | 2613100 | 0 | -1.3697e-07 | 8.0261
132 | 0:00 | 2633200 | 0 | -1.355e-07 | 8.0038
133 | 0:00 | 2653300 | 0 | -1.3447e-07 | 8.0074
134 | 0:00 | 2673400 | 0 | -1.329e-07 | 7.9772
135 | 0:00 | 2693500 | 0 | -1.3171e-07 | 7.9683
136 | 0:00 | 2713600 | 0 | -1.3017e-07 | 7.9401
137 | 0:00 | 2733700 | 0 | -1.2825e-07 | 7.8919
138 | 0:00 | 2753800 | 0 | -1.2685e-07 | 7.8662
139 | 0:00 | 2773900 | 0 | -1.2504e-07 | 7.8159
140 | 0:00 | 2794000 | 0 | -1.2479e-07 | 7.8589
141 | 0:00 | 2814100 | 0 | -1.2396e-07 | 7.8664
142 | 0:00 | 2834200 | 0 | -1.2261e-07 | 7.842
143 | 0:00 | 2854300 | 0 | -1.2138e-07 | 7.8207
144 | 0:00 | 2874400 | 0 | -1.2015e-07 | 7.8033
145 | 0:00 | 2894500 | 0 | -1.1893e-07 | 7.7784
146 | 0:00 | 2914600 | 0 | -1.1793e-07 | 7.7706
147 | 0:00 | 2934700 | 0 | -1.171e-07 | 7.7756
148 | 0:00 | 2954800 | 0 | -1.1591e-07 | 7.7505
149 | 0:00 | 2974900 | 0 | -1.1507e-07 | 7.7486
150 | 0:00 | 2995000 | 0 | -1.1372e-07 | 7.7154
151 | 0:00 | 3015100 | 0 | -1.1292e-07 | 7.7154
152 | 0:00 | 3035200 | 0 | -1.118e-07 | 7.6926
153 | 0:00 | 3055300 | 0 | -1.1087e-07 | 7.6834
154 | 0:00 | 3075400 | 0 | -1.1016e-07 | 7.6843
155 | 0:00 | 3095500 | 0 | -1.0934e-07 | 7.6804
156 | 0:00 | 3115600 | 0 | -1.0792e-07 | 7.6355
157 | 0:00 | 3135700 | 0 | -1.0728e-07 | 7.6391
158 | 0:00 | 3155800 | 0 | -1.0621e-07 | 7.6182
159 | 0:00 | 3175900 | 0 | -1.0522e-07 | 7.5927
160 | 0:00 | 3196000 | 0 | -1.0441e-07 | 7.5881
161 | 0:00 | 3216100 | 0 | -1.0371e-07 | 7.5865
162 | 0:00 | 3236200 | 0 | -1.0242e-07 | 7.5396
163 | 0:00 | 3256300 | 0 | -1.0142e-07 | 7.5153
164 | 0:00 | 3276400 | 0 | -1.0063e-07 | 7.508
165 | 0:00 | 3296500 | 0 | -9.9745e-08 | 7.4863
166 | 0:00 | 3316600 | 0 | -9.9413e-08 | 7.5084
167 | 0:00 | 3336700 | 0 | -9.8701e-08 | 7.505
168 | 0:00 | 3356800 | 0 | -9.7813e-08 | 7.4819
169 | 0:00 | 3376900 | 0 | -9.73e-08 | 7.4889
170 | 0:00 | 3397000 | 0 | -9.6487e-08 | 7.4724
171 | 0:00 | 3417100 | 0 | -9.5895e-08 | 7.4747
172 | 0:00 | 3437200 | 0 | -9.4922e-08 | 7.4435
173 | 0:00 | 3457300 | 0 | -9.4133e-08 | 7.4231
174 | 0:00 | 3477400 | 0 | -9.3458e-08 | 7.4142
175 | 0:00 | 3497500 | 0 | -9.2626e-08 | 7.3924
176 | 0:00 | 3517600 | 0 | -9.2093e-08 | 7.3926
177 | 0:00 | 3537700 | 0 | -9.1188e-08 | 7.3621
178 | 0:00 | 3557800 | 0 | -9.0724e-08 | 7.3682
179 | 0:00 | 3577900 | 0 | -9.0065e-08 | 7.3574
180 | 0:00 | 3598000 | 0 | -8.9502e-08 | 7.3548
181 | 0:00 | 3618100 | 0 | -8.8869e-08 | 7.3432
182 | 0:00 | 3638200 | 0 | -8.8372e-08 | 7.34
183 | 0:00 | 3658300 | 0 | -8.7613e-08 | 7.318
184 | 0:00 | 3678400 | 0 | -8.7038e-08 | 7.313
185 | 0:00 | 3698500 | 0 | -8.6261e-08 | 7.2872
186 | 0:00 | 3718600 | 0 | -8.585e-08 | 7.2889
187 | 0:00 | 3738700 | 0 | -8.5416e-08 | 7.2915
188 | 0:00 | 3758800 | 0 | -8.4564e-08 | 7.2627
189 | 0:00 | 3778900 | 0 | -8.4323e-08 | 7.2789
190 | 0:00 | 3799000 | 0 | -8.3693e-08 | 7.2639
191 | 0:00 | 3819100 | 0 | -8.3013e-08 | 7.2433
192 | 0:00 | 3839200 | 0 | -8.2289e-08 | 7.2149
193 | 0:00 | 3859300 | 0 | -8.1818e-08 | 7.212
194 | 0:00 | 3879400 | 0 | -8.1348e-08 | 7.2094
195 | 0:00 | 3899500 | 0 | -8.0938e-08 | 7.2104
196 | 0:00 | 3919600 | 0 | -8.0307e-08 | 7.1883
197 | 0:00 | 3939700 | 0 | -7.9851e-08 | 7.1832
198 | 0:00 | 3959800 | 0 | -7.9306e-08 | 7.17
199 | 0:00 | 3979900 | 0 | -7.8875e-08 | 7.1707
200 | 0:00 | 4000000 | 0 | -7.8399e-08 | 7.1596