## 薄膜电容
[MeasureCondition]
Display | Main parameter | Label | Cs
Display | Main parameter | Type | Cs
Display | Main parameter | Deviation display | ABS
Display | Main parameter | Deviation standard value | 0
Display | Main parameter | Label | D
Display | Sub parameter | Type | D
Display | Sub parameter | Deviation display | ABS
Display | Sub parameter | Deviation standard value | 0
Measurement | Frequency | Frequency | 1000
Measurement | Signal level | Fixed voltage level | OFF
Measurement | Signal level | Measurement voltage level | 1
Measurement | Signal level | Fixed current level | 0.001
Measurement | Range | Auto conversion | ON
Measurement | Range | Measurement range | 100k Ohm
Measurement | Trigger | Trigger source | Internal
Measurement | Trigger | Trigger delay interval | 0.008
Measurement | Mesurement speed | Mesurement speed | MED
Measurement | DC bias | Enable | OFF
Measurement | DC bias | Setting | 0
Measurement | Averaging | Enable | OFF
Measurement | Averaging | Averaging count | 1
Remarks | Remarks | Remarks
[SweepSetting]
Type | Linear
Starting frequency | 100
Ending frequency | 4000000
Measurement points | 200
Remarks
[Sweep Result]
No. | Pass Time | Frequency | Result
1 | 0:00 | 100 | 0 | 1.0207e-09 | 0.0020826
2 | 0:00 | 20200 | 0 | 1.002e-09 | 0.0113
3 | 0:00 | 40300 | 0 | 9.9634e-10 | 0.013337
4 | 0:00 | 60400 | 0 | 9.9279e-10 | 0.014363
5 | 0:00 | 80500 | 0 | 9.9005e-10 | 0.015055
6 | 0:00 | 100600 | 0 | 9.8779e-10 | 0.015565
7 | 0:00 | 120700 | 0 | 9.8593e-10 | 0.015938
8 | 0:00 | 140800 | 0 | 9.8429e-10 | 0.016242
9 | 0:00 | 160900 | 0 | 9.8286e-10 | 0.016501
10 | 0:00 | 181000 | 0 | 9.8192e-10 | 0.016669
11 | 0:00 | 201100 | 0 | 9.8068e-10 | 0.016875
12 | 0:00 | 221200 | 0 | 9.7959e-10 | 0.017007
13 | 0:00 | 241300 | 0 | 9.7856e-10 | 0.017128
14 | 0:00 | 261400 | 0 | 9.7765e-10 | 0.017238
15 | 0:00 | 281500 | 0 | 9.7676e-10 | 0.017348
16 | 0:00 | 301600 | 0 | 9.7592e-10 | 0.017442
17 | 0:00 | 321700 | 0 | 9.7516e-10 | 0.017526
18 | 0:00 | 341800 | 0 | 9.7442e-10 | 0.017588
19 | 0:00 | 361900 | 0 | 9.7374e-10 | 0.017644
20 | 0:00 | 382000 | 0 | 9.731e-10 | 0.017695
21 | 0:00 | 402100 | 0 | 9.7252e-10 | 0.017744
22 | 0:00 | 422200 | 0 | 9.7195e-10 | 0.017785
23 | 0:00 | 442300 | 0 | 9.714e-10 | 0.017817
24 | 0:00 | 462400 | 0 | 9.7089e-10 | 0.017848
25 | 0:00 | 482500 | 0 | 9.7041e-10 | 0.01787
26 | 0:00 | 502600 | 0 | 9.6992e-10 | 0.017901
27 | 0:00 | 522700 | 0 | 9.6946e-10 | 0.017902
28 | 0:00 | 542800 | 0 | 9.6904e-10 | 0.017928
29 | 0:00 | 562900 | 0 | 9.6863e-10 | 0.017945
30 | 0:00 | 583000 | 0 | 9.6821e-10 | 0.017959
31 | 0:00 | 603100 | 0 | 9.6782e-10 | 0.017964
32 | 0:00 | 623200 | 0 | 9.6744e-10 | 0.017975
33 | 0:00 | 643300 | 0 | 9.6707e-10 | 0.017975
34 | 0:00 | 663400 | 0 | 9.6671e-10 | 0.017978
35 | 0:00 | 683500 | 0 | 9.6636e-10 | 0.017983
36 | 0:00 | 703600 | 0 | 9.6602e-10 | 0.017982
37 | 0:00 | 723700 | 0 | 9.6569e-10 | 0.017981
38 | 0:00 | 743800 | 0 | 9.6536e-10 | 0.017979
39 | 0:00 | 763900 | 0 | 9.6504e-10 | 0.017965
40 | 0:00 | 784000 | 0 | 9.6473e-10 | 0.01797
41 | 0:00 | 804100 | 0 | 9.6444e-10 | 0.017961
42 | 0:00 | 824200 | 0 | 9.6414e-10 | 0.017951
43 | 0:00 | 844300 | 0 | 9.6386e-10 | 0.017951
44 | 0:00 | 864400 | 0 | 9.6357e-10 | 0.017936
45 | 0:00 | 884500 | 0 | 9.633e-10 | 0.017928
46 | 0:00 | 904600 | 0 | 9.6303e-10 | 0.017912
47 | 0:00 | 924700 | 0 | 9.6276e-10 | 0.017907
48 | 0:00 | 944800 | 0 | 9.625e-10 | 0.017896
49 | 0:00 | 964900 | 0 | 9.6224e-10 | 0.017885
50 | 0:00 | 985000 | 0 | 9.6197e-10 | 0.017868
51 | 0:00 | 1005100 | 0 | 9.6172e-10 | 0.017841
52 | 0:00 | 1025200 | 0 | 9.6148e-10 | 0.01783
53 | 0:00 | 1045300 | 0 | 9.6123e-10 | 0.017816
54 | 0:00 | 1065400 | 0 | 9.61e-10 | 0.017806
55 | 0:00 | 1085500 | 0 | 9.6077e-10 | 0.01779
56 | 0:00 | 1105600 | 0 | 9.6053e-10 | 0.017767
57 | 0:00 | 1125700 | 0 | 9.6031e-10 | 0.01775
58 | 0:00 | 1145800 | 0 | 9.6008e-10 | 0.017733
59 | 0:00 | 1165900 | 0 | 9.5986e-10 | 0.017715
60 | 0:00 | 1186000 | 0 | 9.5964e-10 | 0.017691
61 | 0:00 | 1206100 | 0 | 9.5943e-10 | 0.017662
62 | 0:00 | 1226200 | 0 | 9.5922e-10 | 0.017647
63 | 0:00 | 1246300 | 0 | 9.5902e-10 | 0.017624
64 | 0:00 | 1266400 | 0 | 9.5882e-10 | 0.017601
65 | 0:00 | 1286500 | 0 | 9.5861e-10 | 0.017578
66 | 0:00 | 1306600 | 0 | 9.5842e-10 | 0.017546
67 | 0:00 | 1326700 | 0 | 9.5823e-10 | 0.017521
68 | 0:00 | 1346800 | 0 | 9.5804e-10 | 0.017492
69 | 0:00 | 1366900 | 0 | 9.5786e-10 | 0.017457
70 | 0:00 | 1387000 | 0 | 9.5767e-10 | 0.017421
71 | 0:00 | 1407100 | 0 | 9.575e-10 | 0.017392
72 | 0:00 | 1427200 | 0 | 9.5732e-10 | 0.017365
73 | 0:00 | 1447300 | 0 | 9.5715e-10 | 0.017327
74 | 0:00 | 1467400 | 0 | 9.5698e-10 | 0.017293
75 | 0:00 | 1487500 | 0 | 9.5681e-10 | 0.017251
76 | 0:00 | 1507600 | 0 | 9.5665e-10 | 0.017211
77 | 0:00 | 1527700 | 0 | 9.5649e-10 | 0.017174
78 | 0:00 | 1547800 | 0 | 9.5634e-10 | 0.017143
79 | 0:00 | 1567900 | 0 | 9.5618e-10 | 0.017113
80 | 0:00 | 1588000 | 0 | 9.5603e-10 | 0.017076
81 | 0:00 | 1608100 | 0 | 9.5589e-10 | 0.017033
82 | 0:00 | 1628200 | 0 | 9.5574e-10 | 0.016998
83 | 0:00 | 1648300 | 0 | 9.5559e-10 | 0.016956
84 | 0:00 | 1668400 | 0 | 9.5545e-10 | 0.016922
85 | 0:00 | 1688500 | 0 | 9.5532e-10 | 0.016878
86 | 0:00 | 1708600 | 0 | 9.5518e-10 | 0.016837
87 | 0:00 | 1728700 | 0 | 9.5504e-10 | 0.016789
88 | 0:00 | 1748800 | 0 | 9.549e-10 | 0.016751
89 | 0:00 | 1768900 | 0 | 9.5477e-10 | 0.016703
90 | 0:00 | 1789000 | 0 | 9.5463e-10 | 0.016656
91 | 0:00 | 1809100 | 0 | 9.5449e-10 | 0.016617
92 | 0:00 | 1829200 | 0 | 9.5436e-10 | 0.016585
93 | 0:00 | 1849300 | 0 | 9.5423e-10 | 0.016534
94 | 0:00 | 1869400 | 0 | 9.5411e-10 | 0.016494
95 | 0:00 | 1889500 | 0 | 9.5398e-10 | 0.016452
96 | 0:00 | 1909600 | 0 | 9.5386e-10 | 0.016405
97 | 0:00 | 1929700 | 0 | 9.5373e-10 | 0.016357
98 | 0:00 | 1949800 | 0 | 9.5361e-10 | 0.016316
99 | 0:00 | 1969900 | 0 | 9.535e-10 | 0.01628
100 | 0:00 | 1990000 | 0 | 9.5338e-10 | 0.016227
101 | 0:00 | 2010100 | 0 | 9.5325e-10 | 0.01618
102 | 0:00 | 2030200 | 0 | 9.5314e-10 | 0.016126
103 | 0:00 | 2050300 | 0 | 9.5303e-10 | 0.016079
104 | 0:00 | 2070400 | 0 | 9.5291e-10 | 0.016027
105 | 0:00 | 2090500 | 0 | 9.528e-10 | 0.015985
106 | 0:00 | 2110600 | 0 | 9.527e-10 | 0.015942
107 | 0:00 | 2130700 | 0 | 9.5258e-10 | 0.015888
108 | 0:00 | 2150800 | 0 | 9.5248e-10 | 0.015835
109 | 0:00 | 2170900 | 0 | 9.5236e-10 | 0.015785
110 | 0:00 | 2191000 | 0 | 9.5225e-10 | 0.015722
111 | 0:00 | 2211100 | 0 | 9.5216e-10 | 0.01567
112 | 0:00 | 2231200 | 0 | 9.5205e-10 | 0.015613
113 | 0:00 | 2251300 | 0 | 9.5195e-10 | 0.015565
114 | 0:00 | 2271400 | 0 | 9.5185e-10 | 0.015512
115 | 0:00 | 2291500 | 0 | 9.5176e-10 | 0.015453
116 | 0:00 | 2311600 | 0 | 9.5166e-10 | 0.015398
117 | 0:00 | 2331700 | 0 | 9.5156e-10 | 0.01534
118 | 0:00 | 2351800 | 0 | 9.5148e-10 | 0.015285
119 | 0:00 | 2371900 | 0 | 9.5138e-10 | 0.015229
120 | 0:00 | 2392000 | 0 | 9.5129e-10 | 0.015169
121 | 0:00 | 2412100 | 0 | 9.512e-10 | 0.01511
122 | 0:00 | 2432200 | 0 | 9.5111e-10 | 0.015053
123 | 0:00 | 2452300 | 0 | 9.5101e-10 | 0.01499
124 | 0:00 | 2472400 | 0 | 9.5092e-10 | 0.014924
125 | 0:00 | 2492500 | 0 | 9.5084e-10 | 0.01487
126 | 0:00 | 2512600 | 0 | 9.5075e-10 | 0.014815
127 | 0:00 | 2532700 | 0 | 9.5066e-10 | 0.014757
128 | 0:00 | 2552800 | 0 | 9.5057e-10 | 0.014704
129 | 0:00 | 2572900 | 0 | 9.5049e-10 | 0.014644
130 | 0:00 | 2593000 | 0 | 9.5039e-10 | 0.014589
131 | 0:00 | 2613100 | 0 | 9.503e-10 | 0.014532
132 | 0:00 | 2633200 | 0 | 9.5022e-10 | 0.014474
133 | 0:00 | 2653300 | 0 | 9.5014e-10 | 0.014416
134 | 0:00 | 2673400 | 0 | 9.5005e-10 | 0.014356
135 | 0:00 | 2693500 | 0 | 9.4998e-10 | 0.014292
136 | 0:00 | 2713600 | 0 | 9.4991e-10 | 0.014233
137 | 0:00 | 2733700 | 0 | 9.4982e-10 | 0.01417
138 | 0:00 | 2753800 | 0 | 9.4974e-10 | 0.014117
139 | 0:00 | 2773900 | 0 | 9.4967e-10 | 0.014056
140 | 0:00 | 2794000 | 0 | 9.496e-10 | 0.013996
141 | 0:00 | 2814100 | 0 | 9.4953e-10 | 0.013935
142 | 0:00 | 2834200 | 0 | 9.4947e-10 | 0.01387
143 | 0:00 | 2854300 | 0 | 9.494e-10 | 0.013807
144 | 0:00 | 2874400 | 0 | 9.4933e-10 | 0.013751
145 | 0:00 | 2894500 | 0 | 9.4926e-10 | 0.013691
146 | 0:00 | 2914600 | 0 | 9.492e-10 | 0.013623
147 | 0:00 | 2934700 | 0 | 9.4913e-10 | 0.013559
148 | 0:00 | 2954800 | 0 | 9.4908e-10 | 0.013499
149 | 0:00 | 2974900 | 0 | 9.4902e-10 | 0.013434
150 | 0:00 | 2995000 | 0 | 9.4897e-10 | 0.013368
151 | 0:00 | 3015100 | 0 | 9.4891e-10 | 0.013303
152 | 0:00 | 3035200 | 0 | 9.4885e-10 | 0.013236
153 | 0:00 | 3055300 | 0 | 9.4881e-10 | 0.01317
154 | 0:00 | 3075400 | 0 | 9.4876e-10 | 0.0131
155 | 0:00 | 3095500 | 0 | 9.4872e-10 | 0.013033
156 | 0:00 | 3115600 | 0 | 9.4867e-10 | 0.01297
157 | 0:00 | 3135700 | 0 | 9.4863e-10 | 0.012901
158 | 0:00 | 3155800 | 0 | 9.4857e-10 | 0.01284
159 | 0:00 | 3175900 | 0 | 9.4853e-10 | 0.012776
160 | 0:00 | 3196000 | 0 | 9.4848e-10 | 0.012716
161 | 0:00 | 3216100 | 0 | 9.4843e-10 | 0.012652
162 | 0:00 | 3236200 | 0 | 9.4838e-10 | 0.012589
163 | 0:00 | 3256300 | 0 | 9.4833e-10 | 0.012528
164 | 0:00 | 3276400 | 0 | 9.4829e-10 | 0.012469
165 | 0:00 | 3296500 | 0 | 9.4824e-10 | 0.012418
166 | 0:00 | 3316600 | 0 | 9.4821e-10 | 0.012357
167 | 0:00 | 3336700 | 0 | 9.4817e-10 | 0.012295
168 | 0:00 | 3356800 | 0 | 9.4813e-10 | 0.012233
169 | 0:00 | 3376900 | 0 | 9.481e-10 | 0.012158
170 | 0:00 | 3397000 | 0 | 9.4807e-10 | 0.012097
171 | 0:00 | 3417100 | 0 | 9.4803e-10 | 0.012035
172 | 0:00 | 3437200 | 0 | 9.48e-10 | 0.011978
173 | 0:00 | 3457300 | 0 | 9.4796e-10 | 0.011918
174 | 0:00 | 3477400 | 0 | 9.4794e-10 | 0.011851
175 | 0:00 | 3497500 | 0 | 9.4792e-10 | 0.011792
176 | 0:00 | 3517600 | 0 | 9.4789e-10 | 0.011718
177 | 0:00 | 3537700 | 0 | 9.4786e-10 | 0.011645
178 | 0:00 | 3557800 | 0 | 9.4783e-10 | 0.011579
179 | 0:00 | 3577900 | 0 | 9.4781e-10 | 0.011505
180 | 0:00 | 3598000 | 0 | 9.4779e-10 | 0.011433
181 | 0:00 | 3618100 | 0 | 9.4776e-10 | 0.011362
182 | 0:00 | 3638200 | 0 | 9.4773e-10 | 0.011295
183 | 0:00 | 3658300 | 0 | 9.477e-10 | 0.011218
184 | 0:00 | 3678400 | 0 | 9.4768e-10 | 0.011152
185 | 0:00 | 3698500 | 0 | 9.4766e-10 | 0.011093
186 | 0:00 | 3718600 | 0 | 9.4764e-10 | 0.011025
187 | 0:00 | 3738700 | 0 | 9.4762e-10 | 0.010958
188 | 0:00 | 3758800 | 0 | 9.476e-10 | 0.010897
189 | 0:00 | 3778900 | 0 | 9.4759e-10 | 0.010832
190 | 0:00 | 3799000 | 0 | 9.4757e-10 | 0.010766
191 | 0:00 | 3819100 | 0 | 9.4756e-10 | 0.010705
192 | 0:00 | 3839200 | 0 | 9.4755e-10 | 0.010651
193 | 0:00 | 3859300 | 0 | 9.4753e-10 | 0.010592
194 | 0:00 | 3879400 | 0 | 9.4753e-10 | 0.010534
195 | 0:00 | 3899500 | 0 | 9.4752e-10 | 0.010468
196 | 0:00 | 3919600 | 0 | 9.4751e-10 | 0.010412
197 | 0:00 | 3939700 | 0 | 9.4749e-10 | 0.010342
198 | 0:00 | 3959800 | 0 | 9.4747e-10 | 0.010285
199 | 0:00 | 3979900 | 0 | 9.4747e-10 | 0.010229
200 | 0:00 | 4000000 | 0 | 9.4747e-10 | 0.010165